## Slide 1: WORKing Examples FWALL @ HADES EPD @ STAR
Lukáš Chlad1,2
1Nuclear Physics Institute of the CAS
2Faculty of Nuclear Sciences and Physical Engineering of the CTU

## Slide 2: HADES FORWARD WALL
Located 7m downstream from the target region (polar angle between 0.33° and 7.17°)​
Linear dependence of signal amplitude ​on fragment charge

## Slide 3: Design
Scintillator hodoscope (depth ~2.5 cm) 140 small cells (4x4 cm2)
64 middle cells (8x8 cm2)
84 large cells (16x16 cm2)
https://doi.org/10.1134/S0020441214020146

## Slide 4: Performance
Time resolution ~ 700 ps
Fragments charge identification
Z=1
Z=2
Z=3
Z=4
Z=5
Z=6
Z=7
Z=8
Z=9
Z=10
https://doi.org/10.1134/S0020441214020146

## Slide 5: Event plane determination
Effects of non-uniform acceptance / tilt of beam PRC 55 (1997) 1420
Arxiv 2208.02740

## Slide 6: Centrality determination
Usually, HADES is using Nhit as a variable defining the centrality classes
But in case of (net)proton number fluctuation one needs to avoid as much autocorrelations as possible.
It is to define centrality classes in terms of bins of summed charges in FWall.
https://doi.org/10.1103/PhysRevC.102.024914

## Slide 7: Centrality determination
https://doi.org/10.1103/PhysRevC.102.024914
https://doi.org/10.1140/epja/i2018-12513-7

## Slide 8: Centrality determination
Recent work on using FWall charge distribution with Machine Learning
Comparison to different models and standard method with MC Glauber with NTOF+RPC
https://doi.org/10.1134/S1063779622020897

## Slide 9: Event plane detector @ STAR
Replaced original BBC in 2017 (within STAR forward physics upgrade)
Measures charged particles emitted in the forward and backward directions, at angles 0.7◦ < θ < 13.5◦
https://doi.org/10.1016/j.nima.2020.163970

## Slide 10: Design
Replacement of original BBC
Beam to Beam Counter used for multiplicity measurement (was used for triggering purposes)
In principle could be as well used to determine EP but with quite bad resolution
Inner structure
Of EPD
12 supermodules (1 is highlighted in figure) covering 30 deg. divided into 31 cells, disk radius 0.9m, hole of 4.6cm
1.2cm thick plastic scintillator read-out with wavelength shifter and optical fiber which that guides the light to SiPM

## Slide 11: Performance
Time Resolution
Centrality purity
(18.6 cm) / sqrt(2)c ≈ 0.44 ns

## Slide 12: THANK YOU for your attention !!

## Slide 13: Projectile spectator detector
"The main purpose of the PSD is to provide an experimental measurement of a heavy-ion
collision centrality and orientation of its symmetry plane. Precise event-by-event estimate of these basic
observables is crucial for many physics phenomena studies to be performed by the CBM Collaboration.
The PSD is a compensating lead-scintillator calorimeter* designed to measure the energy distribution
of the projectile nuclei fragments (spectators) and forward going particles produced close to the beam
rapidity. "
*compensating means the same respons to electromagnetic and hadronic shower, using the sandwich Pb/Scint ratio 4:1

## Slide 14: Design
Design Requirements
Spectators detection in the beam energy range of Eb = 2 − 35 AGeV.
Operation at beam intensities up to 109 Au ions per sec.
Reaction plane determination with an accuracy better than 40 degree.
Determination of collision centrality classes with an accuracy better than 10%.
How to fullfill them?
Large area ~ 1.5x1.5 m2
σE/E < 60%/sqrt(E[GeV])
Granularity 20x20 cm2 (4 times smaller module size did not have significant improvement on EP resolution)
Radiation hard photon detector with high-rate capability (Micro-Pixel Avalanche Photodiod)
60 Pb+Scint pairs divided into 10 individually read-out sections
~ 6 interaction lengths
44 modules

## Slide 15: Performance in sim
Centrality determination
Event plane resolution

## Slide 16: Performance @ NA61
Energy resolution
centrality
Event plane resolution
https://doi.org/10.22323/1.347.0195
https://doi.org/10.1016/j.nuclphysa.2018.10.058